## Cover
Micro-Grid — Single-Period Economic Dispatch ($/h)
How much power to draw from each source to maximise expected margin within the feeder and emissions limits?
Generated by ModelRisk Studio — native optimizer example library.
What this workbook models
A campus micro-grid dispatches four sources (solar+battery, CHP engine, grid import, demand flex) for one
period. Each source sells at a known price but its fuel cost per MWh is uncertain (lognormal).
Decision, objective and constraints
Decision | 4 continuous MW dispatches, each within Min/Max
Objective | Maximise the Mean margin = Σ MW × (price − uncertain fuel cost)
Hard constraints | grid import ≤ 18 MW and emissions ≤ 9 t
Engine — Projected Gradient
Expected margin is linear in the dispatches (mean margin is constant per source) and both limits are linear;
all statistics are point (Mean/Value). Method=Auto proves the model affine and routes it to Projected
Gradient — the Excel-Solver-equivalent engine — which walks the binding limits to the optimum.
Glossary
Economic dispatch | choosing source outputs to meet load at least cost / best margin

## Model
Micro-Grid — Single-Period Economic Dispatch
Dispatch continuous MW from each source to maximise expected margin within the feeder import and emissions limits.
▒ Input (edit) |  | ▒ Output (sim) |  | ▒ Decision (adjustable) |  | ▒ Objective / key
Grid limits
Feeder import limit (MW) |  | 18
Emissions cap (t) |  | 9
Sources (decision = continuous MW)
Source | MW (dec) | Min | Max | $/MWh price | Fuel $/MWh (unc.) | Margin $ | Emit t/MW
Solar+batt | 3 | 0 | 8 | 60 | 9.8369 | 50.1631 | 0
CHP engine | 3 | 1 | 10 | 72 | 33.3297 | 38.6703 | 0.9
Grid import | 3 | 0 | 18 | 95 | 66.9031 | 28.0969 | 0.6
Demand flex | 3 | 0 | 5 | 40 | 5.2946 | 34.7054 | 0
Results
Expected margin ($/h) — objective |  | 454.9071
Feeder import (MW) — constraint |  | 3
Emissions (t) — constraint |  | 4.5

## ModelRiskDSN (hidden)
DSN Files Count: | 0

## ModelRiskOptimizer (hidden)
MROPTREPO/2.0 | 0 | 1 | 1 | {"format_version":"1.0","model":"Micro-grid dispatch","settings":{"engineKind":0,"optimizationType":0,"useTurboSimulation":true,"gaPopulation":0,"gaProbCrossover":0.8,"gaProbMutation":0.1,"gaSelection":0,"gaTournamentSize":3,"gaElitism":2,"cmaSigma":0.3,"cmaPopulation":0,"cmaUseIPOP":true,"cmaPolishDampStart":0.7,"cmaPolishDampGrowth":0.15,"nelderMeadTol":0.000001,"nelderMeadInitStep":0.05,"bfgsGradH":0.000001,"bfgsStepConvergence":true,"brentTol":1e-13,"projGradConvergenceTol":0.0001,"projGradConvergenceWindow":5,"useCRN":true,"crnSeed":0,"useRandomSeed":false,"useFixedTwister":false,"finalFullMcConfirm":false,"gaProjectLinearConstraints":false,"pathfinderRobust":false,"pathfinderSurrogate":true,"pathfinderGradient":true,"pathfinderCheapExplore":false,"pathfinderFeasGate":true,"pathfinderLeanDescent":true,"pathfinderSoftConstraint":false,"adaptScheme":2,"repMin":200,"repMax":5000,"repFinalTopN":5,"varianceTrancheEpsPct":0.02,"varianceTrancheThreshold":0.8,"varianceTrancheMinK":5,"preFlightEnabled":true,"deterministicSamples":1,"samplingType":2,"userSamples":0,"conDefType":0,"conDefPenaltyKind":0,"conDefWeight":1.0,"conDefEvalTime":0,"conDefPrecision":0.0,"macroAtOptStart":"","macroBeforeTrial":"","macroAfterTrial":"","macroAtOptEnd":"","useMacroAtOptStart":false,"useMacroBeforeTrial":false,"useMacroAfterTrial":false,"useMacroAtOptEnd":false},"stop":{"maxIterations":300,"maxTimeSeconds":300.0,"parameterTolerance":1.0,"toleranceUnit":1,"stagnationTrials":80,"stagnationDeviation":0.000001,"stagnationUnit":0,"stopOnError":false,"stopFormulaEnabled":false,"stopFormulaRef":""},"adj":{"variables":[{"cell":{"sheet":"Model","row":10,"col":1},"type":0,"min":0.0,"max":8.0,"groupIndex":-1,"label":"","discreteSet":[]},{"cell":{"sheet":"Model","row":11,"col":1},"type":0,"min":1.0,"max":10.0,"groupIndex":-1,"label":"","discreteSet":[]},{"cell":{"sheet":"Model","row":12,"col":1},"type":0,"min":0.0,"max":18.0,"groupIndex":-1,"label":"","discreteSet":[]},{"cell":{"sheet":"Model","row":13,"col":1},"type":0,"min":0.0,"max":5.0,"groupIndex":-1,"label":"","discreteSet":[]}],"groups":[]},"objectives":[{"name":"Max margin","cell":{"sheet":"Model","row":16,"col":2},"stat":{"kind":0,"param1":0.0,"param2":0.0},"mode":0,"targetValue":0.0}],"constraints":[{"name":"Import <= 18","cell":{"sheet":"Model","row":17,"col":2},"stat":{"kind":22,"param1":0.0,"param2":0.0},"op":0,"rhsA":18.0,"rhsB":0.0,"formulaCellRef":"","type":0,"softWeight":1.0,"penaltyKind":0,"evalTime":0,"sixSigma":0,"precision":0.0},{"name":"Emissions <= 9","cell":{"sheet":"Model","row":18,"col":2},"stat":{"kind":22,"param1":0.0,"param2":0.0},"op":0,"rhsA":9.0,"rhsB":0.0,"formulaCellRef":"","type":0,"softWeight":1.0,"penaltyKind":0,"evalTime":0,"sixSigma":0,"precision":0.0}],"frontier":{"sweptIndex":-1,"lo":0.0,"hi":0.0,"nPoints":5}}
1 | Base scenario | 1